## Slide 1: Lecture 4: determining serostatus and estimating seroprevalence
May 22, 2025
Seroanalytics Training Blantyre, Malawi

## Slide 2: Lecture outline:
How to choose a cutoff method
Sensitivity and specificity
Apply different methods for cutoffs
  ROC curves
  Mean + SD of negative controls
  Mixture model

## Slide 3: Cutoff methods
There isn’t always a clear answer for how to chose cutoff methods
Today we will go through 4 methods for determining a cutoff:
  Externally-defined correlate of protection (covered this morning)
  Receiver Operating Characteristic curve (ROC, based on sensitivity and specificity, using both positive and negative controls)
  Unexposed population (negative controls)
  Finite mixture model (FMM; only based on sample results)
Notes: We are going to go through other cutoff methods today, and there isn’ t always a clear cut answer for how to choose the method. It can depend on what controls you have available. Today we’ll focus on 4 methods:

## Slide 4: Examples of choosing cutoff methods
  Serosurveillance of viral and vaccine-preventable diseases using 47-plex assay
Notes: https://www.medrxiv.org/content/10.1101/2024.04.26.24306413v1
Investigation of the sero-epidemiology of vaccine preventable diseases and common viral infections in French populations using a multiplex serological assay

## Slide 5: Examples of choosing cutoff methods
Bloch et al. Investigation of the sero-epidemiology of vaccine preventable diseases and common viral infections in French populations using a multiplex serological assay. 2024. medRxiv.
Notes: https://www.medrxiv.org/content/10.1101/2024.04.26.24306413v1
Investigation of the sero-epidemiology of vaccine preventable diseases and common viral infections in French populations using a multiplex serological assay

## Slide 6: Choosing cutoff methods: Example from Zambezia, Mozambique panel
Are international standards available (like for correlate of protection)?
Yes
No
Use international standard
Are positive and negative controls available?
Yes
No
Use ROC curve; is Youden’s J reasonable?
Yes
No
Maximize Youden’s J
Maximize specificity with sensitivity ≥ 75%
Are negative controls available?
Yes
No
Use finite mixture model
Are negative controls normally distributed?
Yes
No
Mean + 3SD of negative controls
Highest negative control

## Slide 7: Other considerations:
You may want to set up a way to decide cutoffs based on:
  Previous methods
  Sample and/or control distributions
  Information about controls
  Whether to prioritize minimizing false negatives vs. false positives
  How you want to interpret seropositivity

## Slide 8: Classifying controls in serological testing
We can define controls into the following categories:
True positives (TP): Test positive, are positive
False positives (FP): Test positive, are negative
True negatives (TN): Test negative, are negative
False negatives (FN): Test negative, are positive
We need to have positive and negative controls to know which controls are actually positive and actually negative

## Slide 9: Applying cutoffs to ZIKA antigen
True negatives
False positives
True positives
False negatives
Notes:   Using a cutoff value of 500 , we can calculate the sensitivity and specificity:
    R code:
# Define cutoff value
cutoff_value <- 500
# Create Seropos variable based on MFI cutoff
dat$Seropos <- ifelse(dat$MFI > cutoff_value, 1, 0)
# Calculate values for sensitivity and specificity
TP <- sum(dat$Seropos == 1 & dat$Pos_control == 1) # True Positives
TN <- sum(dat$Seropos == 0 & dat$Pos_control == 0) # True Negatives
FP <- sum(dat$Seropos == 1 & dat$Pos_control == 0) # False Positives
FN <- sum(dat$Seropos == 0 & dat$Pos_control == 1) # False Negatives
# Calculate Sensitivity and Specificity
Sensitivity <- TP / (TP + FN)
Specificity <- TN / (TN + FP)
# Print results
cat("True Positives:", TP, "\n")
cat("True Negatives:", TN, "\n")
cat("False Positives:", FP, "\n")
cat("False Negatives:", FN, "\n")
cat("Sensitivity:", round(Sensitivity, 3), "\n")
cat("Specificity:", round(Specificity, 3), "\n")
Write R code in one chunk. I have a df called dat, with variable Pos_control with 1 for positive controls and 0 for negative controls. I also have variable called MFI with a range of MFI values. Include cutoff_value <- 500. Create a variable called Seropos that is 1 if MFI > cutoff_value and 0 otherwise.
Then calculate the number of true positive, true negative, false positive, and false negative from this df. Then calculate Sensitivity and Specificity

## Slide 10: 2X2 table for ZIKA
A 2x2 table is a way to summarize the numbers of TPs, FPs, TNs, and TPs
 |  | True disease status | 
 |  | Positive | Negative
Serostatus based on cutoff | Seropositive | 28 | 4
 | Seronegative | 2 | 26
True negatives
False positives
True positives
False negatives

## Slide 11: False positives and false negatives: which are “worse”?
When would we want to minimize false positives?
When would we want to minimize false negatives?

## Slide 12: False positives and false negatives: which are “worse”?
When would we want to minimize false positives?
  Do not want to over-estimate exposure or immunity
  Minimize unnecessary interventions
When would we want to minimize false negatives?
  Do not want to miss any cases (risk of further transmission)
    E.g., diseases near elimination or in early outbreak
  Under-estimate disease burden

## Slide 13: False positives and false negatives
In other cases, false positives and false negatives may be equally bad.
Then, we can choose to minimize the total number of false positives and false negatives (balanced approach).

## Slide 14: Sensitivity and specificity
Sensitivity and specificity use false positives and false negatives to determine the accuracy of diagnostic tests.
In serosurveillance, sensitivity and specificity measure how well a cutoff accurately classifies people in the population as seronegative or seropositive.

## Slide 15: Sensitivity and specificity
Sensitivity is a measure of how many samples that should test positive actually do test positive. The numerator is the total number of positive controls that are seropositive based on a selected cutoff. The denominator is the total number of positive controls.
Specificity is a measure of how many samples that should test negative actually do test negative. The numerator is the total number of negative controls that are seronegative based on a selected cutoff. The denominator is the total number of negative controls.

## Slide 16: Sensitivity of ZIKA, cutoff = 500
For ZIKA antigen, using a cutoff of 500, we have:
26 true negatives
2 false negatives
28 true positives
4 false positives

## Slide 17: Specificity of ZIKA, cutoff = 500
For ZIKA antigen, using a cutoff of 500, we have:
26 true negatives
2 false negatives
28 true positives
4 false positives

## Slide 18: Receiver Operating Characteristic (ROC) Curve
If we have positive and negative controls, we can compare sensitivity and specificity to help determine a cutoff.
The ROC curve uses known positive and negative controls to compare sensitivity vs. specificity.
We can use the ROC curve to choose a cutoff value that minimizes false positives and false negatives.

## Slide 19: ROC Curves
The ROC curve shows sensitivity and (1 – specificity) calculated at many different cutoff values.

## Slide 20: ROC Curves
If the curve is close to the top left corner, then we can identify a cutoff with high sensitivity and specificity
Y-axis is sensitivity, equal to true positive rate
X-axis is 1-Specificity, equal to false positive rate

## Slide 21: Choosing a cutoff from ROC Curve
The ROC curve shows us how sensitivity and specificity change as we adjust the cutoff value. It does not give a specific cutoff value.
How to chose what cutoff to chose:
Consider: Is it worse to have false negatives or false positives?
Is it worse to have false positives (labeling negative people as positive), like for a rare disease?
Is it worse to have false negatives (missing seropositive people)?
Or, are false positives and false negatives equally bad?

## Slide 22: Cutoffs from ROC curve – Youden’s Index
One common method method to chose a cutoff from a ROC curve is to use Youden’s Index
This method assumes false positive and false negatives are equally bad
This method finds the cutoff that maximizes Sensitivity + Specificity – 1

## Slide 23: Cutoffs from ROC curve – Youden’s Index
Cutoff based on Youden’s index: TPR: 0.933 FPR: 0
Cutoff: 664.5
When we maximize Sensitivity + Specificity – 1 for this ROC curve:
Notes: Pretty good sensitivity and specificity based on this cutoff
Youden’s Index = TPR – FPR 0.933 – 0 = 0.933 (max is 1)

## Slide 24: Cutoffs from ROC curve
Can also adjust the cutoff if we primarily want to minimize false positives or false negatives, for example:
  If we are concerned about too many false positives, we could set a minimum value for specificity (e.g., find cutoff that provides maximum sensitivity while maintaining >80% specificity)

## Slide 25: ROC curve summary
  Advantages:
    Flexibility to prioritize sensitivity or specificity
  Disadvantages:
    Requires positive and negative controls
    Controls may differ from sample population

## Slide 26: Unexposed controls
This method uses negative controls: for example, from a non-endemic region or from young individuals who are presumed to be unexposed
Cutoff = mean + 2 or 3 standard deviations
  If negative controls are normally distributed:
    Only ~2.5% of negatives are expected to be above mean + 2SDs
    Only ~0.14% of negatives are expected to be above mean + 3SDs
Notes: Advantage: only requires negative controls, which may be easier to obtain than positive controls, especially for rare diseases

## Slide 27: Unexposed controls
If controls are normally distributed: For mean + 2 SDs, we expect 2.5% of negative samples to be greater than cutoff (i.e., assay has 97.5% specificity).
Notes: The data shows a simulated normal distribution. The curve models a normal distribution. Samples above the cutoff are shown in red and samples below the cutoff are shown in blue.

## Slide 28: Unexposed controls
  There can sometimes be outliers in unexposed controls (high-responders)
  This could be a reason for a non-normal distribution
  A more conservative approach is using highest negative control (equals 100% specificity)
  It’s also worth investigating the outlier samples to try to understand if they were truly unexposed
Outliers
Notes: Advantage: only requires negative controls, which may be easier to obtain than positive controls, especially for rare diseases

## Slide 29: Unexposed controls
Advantages:
  Simple to implement
  Doesn’t require positive controls (often harder to find, depending on pathogen)
Disadvantages:
  Negative controls should be comparable to true negative samples in population
  Specificity may be challenging to estimate depending on the number and distribution of negative controls
  Can’t estimate sensitivity or numbers of false negatives (if no positive controls)
Notes:   Advantages
    Simple to implement
  Disadvantages
    Only works if controls are normally distributed, or could have larger numbers above cutoff by chance
    Requires negative controls to be comparable to true negative samples in population
Could result in false negatives if there is overlap between true positives and normal distribution of negatives

## Slide 30: Distributions of controls
  For ZIKA antigen: Overlap between distributions of true positives and negatives
Log scale
Untransformed
Notes:   Advantages
    Simple to implement
  Disadvantages
    Only works if controls are normally distributed, or could have larger numbers above cutoff by chance
    Requires negative controls to be comparable to true negative samples in population
Could result in false negatives if there is overlap between true positives and normal distribution of negatives

## Slide 31: Distribution of negative controls
ZIKA antigen negative controls
Log scale
Untransformed
Notes:   Untransformed and log scale both look pretty good. There’s generally little downside to doing a log transformation
  R code demo:
neg_controls <- dat$AntibodyLevel[dat$KnownStatus == "Negative"]
cutoff_3sd <- mean(neg_controls, na.rm = TRUE) + 3 * sd(neg_controls, na.rm = TRUE)
cutoff_5sd <- mean(neg_controls, na.rm = TRUE) + 5 * sd(neg_controls, na.rm = TRUE)
print(cutoff_3sd)
print(cutoff_5sd)

## Slide 32
Mean log(ZIKA negative controls) = 5.600
SD log(ZIKA negative controls) = 0.473
Cutoff = mean + 2 SD of negative controls
Cutoff = exp(5.600 + 2 * 0.473) = exp(6.545) = 695.9
Cutoff = mean + 3 SD of negative controls
Cutoff = exp(5.600 + 3 * 0.473) = exp(7.018) = 1116.5
Cutoffs using ZIKA negative controls:

## Slide 33
Histogram of negative controls
Cutoffs:
In red: Mean + 2SD = 695.9
In purple: Mean + 3SD = 1116.5
Cutoffs using ZIKA negative controls:

## Slide 34: Specificity of ZIKA antigen
For a cutoff = 695.9:
If no positive controls available:
 |  | True disease status | 
 |  | Positive | Negative
Serostatus based on cutoff | Seropositive | - | 0
 | Seronegative | - | 30

## Slide 35: Specificity of ZIKA antigen
For a cutoff = 695.9:

## Slide 36
Cutoffs using ZIKA negative controls:
Histogram of samples
Cutoffs:
In red: Mean + 2SD = 695.9
In purple: Mean + 3SD = 1116.5

## Slide 37: Mixture models
Mixture models are the only method to calculate cutoffs and estimate seroprevalence directly from the sample distribution
  Does not require positive or negative controls

## Slide 38: Mixture models
Advantage: Doesn’t require positive or negative controls
Disadvantage: Only works if we can identify distributions representing exposed and unexposed individuals (ideally with minimal overlap)

## Slide 39: Mixture models
Why may we not see two distinct distributions for exposed and unexposed individuals in a population (e.g., either 1 or 3+ distributions)?
Almost all / almost no individuals exposed
Waning antibodies over time
Cross-reactive antibodies
Magnitude of antibody response could vary with intensity of infection
Natural infection vs. vaccination

## Slide 40: Mixture models
  Chikv and Denv could be appropriate distributions for fitting a mixture model (possibly two components per antigen)
Notes: Both have possible bimodal distributions

## Slide 41: Mixture models
Statistics also show that 2 components fit these distributions better than 1 component
Notes: The statistics show that bimodal distributions fit

## Slide 42: Mixture models
  Some antigen distributions are not as good:
One component is best fit
Notes: Distribution is not bimodal. Bimodal distributions are best for FMM

## Slide 43: Mixture models
Unlike other methods, this method doesn’t calculate a cutoff
Instead, it calculates the probability of each sample being seropositive
Seroprevalence equals the sum of the individual-level probabilities of being seropositive

## Slide 44: Conclusion
Methods to determine seropositivity come with different assumptions, which you should be sure to understand.
The method you choose will depend on your study and the particular antigen(s), in addition to controls available, and sample and control distributions.